Service VAV hot water valves and actuators as discovered during December PM by Sentry Mechanical. At least 2 valves are not opening at VAV's 200 & 217 causing low room temperatures. Per ConEd. Several other valves are not closing at other locations and this is causing an overheat condition at those rooms.

Proposal to provide and perform the following:

• Provide and install (2) Belimo Valve and Actuator for Rooms 200 and Room 217

• Provide and install (1) Belimo Valve and Actuator for Room 123

• Start up

• Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA051 Johgnstown |  |  |  |  |  |  |  |  |
| Service VAV hot water valves and actuators |  |  |  |  |  |  |  |  |
| CSS #16763 - CMI # 6870 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 2/11/2019 |  |  |  |  |  |  |  |  |
| Routine P3 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 12 |  |  |  |  |  | $ 1,176.00 |
| 1.2 (2) Belimo Valves and actuators |  |  |  |  | $ - | $ - | $ - | $ 605.98 |
| 1.3 (1) Belimo valve & actuator |  |  |  |  |  |  |  | $210.22 |
| 1.4 Pipe Dope & Fittings |  |  |  |  |  |  |  | $ 50.00 |
| 1.5 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,066.20 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,360.20 |