Ceiling mounted unit heater in vestibule V13 is not operating. CMI PM inspection found bad manual motor starter switch. Switch will need replaced. Vestibule is cold and floor is remaining wet from snow causing a slip hazard.

Proposal to provide and perform the following:

• Properly remove defective parts

• Provide and install (1) Manual Motor Starter

• Provide and install (1) Thermal unit switch

• Start up

• Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA051, Johnstown |  |  |  |  |  |  |  |  |
| Ceiling mounted unit heater |  |  |  |  |  |  |  |  |
| CSS #16810 - CMI # 6879 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.31.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 2.5 |  |  |  |  |  | $ 245.00 |
| 1.2 Manual Motor Starter |  |  |  |  | $ - | $ - | $ - | $ 127.06 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 396.06 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1.5 |  |  |  |  |  | $ 147.00 |
| Grand Total |  |  |  |  |  |  |  | $ 543.06 |