Building 292. Check leaking toilet flush valve and clogged sink in 2nd floor men’s room. While on site check all other plumbing fixtures including push valves on sinks and drinking fountains for proper operation. Adjust fountains as required for proper drinkable flows and push valves for proper "on" times.

Miscellaneous Repairs to Bldg 292.

Unclogging sink drain, 1st flr Women’s Restroom

Repairing leaking toilet, 1st & 2nd flr Men’s Restroom

Repairing Stall Lock, 2nd flr Women’s Restroom

Replacing 1 ¼” P-Trap, 2nd flr Men’s Restroom & 1st flr Women’s Restroom

Adjusting sink faucets, 2nd flr Men’s Restroom

Adjust shower temperature, 2nd flr Men’s Restroom

Repair toilet carriage bolts, 2nd flr Men’s Restroom

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA051-05 Johnstown |  |  |  |  |  |  |  |  |
| Building 292. Check leaking toilet flush valve |  |  |  |  |  |  |  |  |
| CSS #14931 - CMI # 5228 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.21.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 63.00 | 16 |  |  |  |  |  | $ 1,008.00 |
| 1.2 Misc Material |  |  |  |  | $ - | $ - | $ - | $ 248.00 |
| 1.3 10% Material Markup |  |  |  |  |  |  |  | $25.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,281.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,281.00 |