Building 288 Domestic Hot Water circulating pump is noisy. Lubricate or repair as required.  PA051-227-01 Asset 5003.

Proposal to provide & perform the following:

- Isolate pump

- Remove & replace pump motor

- Remove & replace pump seal & gaskets

- Start up

- Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA051-227 Johnstown |  |  |  |  |  |  |  |  |
| Building 288 Domestic Hot Water |  |  |  |  |  |  |  |  |
| CSS #15712 - CMI # 5931 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.31.19 |  |  |  |  |  |  |  |  |
| Asset # 5033 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 1.2 Pump, seal & gaskets |  |  |  |  | $ - | $ - | $ - | $ 677.31 |
| 1.3 Consumables |  |  |  |  |  |  |  | $40.00 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,525.31 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1.5 |  |  |  |  |  | $ 147.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,672.31 |