Hot water tank relief valve seems to be discharging a significant amount of water on a fairly regular basis. Floor area around the  base of the unit has remained wet for a long time and water can be seen  dripping from the down tube.

Proposal to provide and perform the following:

• Remove existing expansion tank and relief valve

• Supply new Model T-12 expansion tank

• Supply new Model NCLX-5LS ¾” long shank T&P relief valve

• Install new expansion tank and relief valve

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA079 Morelock |  |  |  |  |  |  |  |  |
| Hot water tank relief valve |  |  |  |  |  |  |  |  |
| CSS #16447 - CMI # 6773 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.10.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 2 |  |  |  |  |  | $ 196.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 83.46 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 279.46 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 2 |  |  |  |  |  | $ 196.00 |
| Grand Total |  |  |  |  |  |  |  | $ 475.46 |