Repair radiator shroud / perimeter heating piping cover in Rm 133. Appears that it is dislodged at top for about 90% of the run length and much of the weight is resting on the piping itself and putting stress on the pipe unions. Secure radiator cover appropriately to eliminate stress on heating system pipes.

Proposal to provide and perform the following:

• Provide and install Burner Door

• Provide and install Air Chanel

• Provide and install Burner Mounting Gasket

• Provide and install Spark Ignitor

• Provide and install Flame Sensor Wire

• Start up

• Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA079 Morelock |  |  |  |  |  |  |  |  |
| Repair radiator shroud / perimeter heating |  |  |  |  |  |  |  |  |
| CSS #16448 - CMI # 6777 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.08.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 319.51 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 15.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,118.51 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 2 |  |  |  |  |  | $ 196.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,314.51 |