Asset# 6838. Ice machine is inoperable. Request is for vendor to troubleshoot and make needed repairs. After resetting, the machine attempt to make ice, but then goes into a trouble code.

Proposal to provide and perform the following:

• Provide and install (1) Ice Thickness Probe

• Provide and install (1) Water Level Probe

• Provide and install (1) Circuit Board

• Start up

• Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA096 Washington |  |  |  |  |  |  |  |  |
| Ice machine is inoperable |  |  |  |  |  |  |  |  |
| CSS #15129 - CMI # 6767 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.07.19 |  |  |  |  |  |  |  |  |
| Asset # 6838 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 4 |  |  |  |  |  | $ 392.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 639.86 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,055.86 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1.5 |  |  |  |  |  | $ 147.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,202.86 |