Asset #7721. Overhead door located in drill hall is inoperable. When pushing the open/close button on switch, the motor fails to engage. No breakers were tripped. Request is for vendor to troubleshoot and repair.

*Repairs already made – received Verbal Approval from David L.

| Labor and material for the following: |  |  |
| --- | --- | --- |
|  | *Release jammed door |  |
|  | *Adjust interlock switch |  |
|  | *Re-align and tighten drive chain sprocket |  |
|  | *Secure and adjust chain hoist |  |
|  | *Adjust limits and lubricate door. |  |

Recommended Work:

*Install new Pneumatic edge box with hose.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA096 Washington |  |  |  |  |  |  |  |  |
| Overhead door located in drill hall is inoperable |  |  |  |  |  |  |  |  |
| CSS #16635 - CMI # 6817 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.05.19 |  |  |  |  |  |  |  |  |
| Asset #7721 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 6 |  |  |  |  |  | $ 588.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 11.90 |
| Repairs have already been made, verbal approval received by David L. |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 599.90 |
| 2. Recommended work |  |  |  |  |  |  |  |  |
| 2.1 Labor | $ 98.00 | 5 |  |  |  |  |  | $ 490.00 |
| 2.2 Material |  |  |  |  |  |  |  | $ 182.45 |
| Grand Total |  |  |  |  |  |  |  | $ 1,272.35 |