Boiler #1 Low Water Cut off Leaking

Proposal to provide and perform the following:

• Provide and replace Low water cut off on Peerless Boiler #1

• Gas vent line is corroded, we will replace

• Start up

• Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA096 Washington |  |  |  |  |  |  |  |  |
| Top of Form The boiler is not adequately Bottom of Form |  |  |  |  |  |  |  |  |
| CSS #15866 - CMI # 5963 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.07.19 |  |  |  |  |  |  |  |  |
| Priority 3 |  |  |  |  |  |  |  |  |
| Asset #6645 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 1.2 Low Water cut off |  |  |  |  | $ - | $ - | $ - | $ 233.12 |
| 1.3 Piping / Elbows /Nipples |  |  |  |  |  |  |  | $100.00 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,141.12 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 2 |  |  |  |  |  | $ 196.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,337.12 |