Repair issues with Area/Security Lighting fixtures and Call Box.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA166 Coraopolis |  |  |  |  |  |  |  |  |
| Repair issues with Area/Security Lighting |  |  |  |  |  |  |  |  |
| CSS #13359 - CMI # 4937 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.18.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 75.00 | 10 |  |  |  |  |  | $ 750.00 |
| 1.2 Wall Pack AMSA |  |  |  |  | $ - | $ - | $ - | $ 262.00 |
| 1.3 Burnt contact wiring AMSA Lot |  |  |  |  |  |  |  | $38.50 |
| 1.4 Walkway AMSA Overhang Lighting |  |  |  |  |  |  |  | $ 193.60 |
| 1.5 Wall Pack Admin Bldg |  |  |  |  |  |  |  | $ 262.00 |
| 1.6 Outside Call box Phone |  |  |  |  |  |  |  | $ 272.85 |
| 1.7 Man Lift |  |  |  |  |  |  |  | $ 300.00 |
| Sub Total |  |  |  |  |  |  |  | $ 2,078.95 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 75.00 | 1 |  |  |  |  |  | $ 75.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,153.95 |

Work to Be Performed:

Replace Wall Pack in the AMSA

Replace Burnt contact wiring for AMSA Lot

Repair walkway AMSA Overhang lighting

Replace Wall Pack in the Admin Bldg.

Replace Outside call box phone