Repair by replacement - motor for exhaust fan #5 (3rd Fl M latrine). Does not turn on when start signal is received.

Proposal to remove & replace the fan motor on the exhaust fan on the 3rd floor.

- Prepare project site for a clean and safe installation.

- Disconnect, demo and dispose of the old motor.

- Furnish & install 1 new 1/3 HP motor, 1725 RPM, 115 volt.

- Start up and verify proper operation.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA166 Coraopolis |  |  |  |  |  |  |  |  |
| motor for exhaust fan #5 |  |  |  |  |  |  |  |  |
| CSS #14597- CMI # 8189 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 2.28.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 4 |  |  |  |  |  | $ 392.00 |
| 1.2 Motor |  |  |  |  | $ - | $ - | $ - | $ 135.00 |
| 1.3 Consumables |  |  |  |  |  |  |  | $10.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 537.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 537.00 |