Automatic flush valves on the men's and women's room commodes are failing. Flush engages but only completes half of the flush cycle. Must use the manual flush button several times in order to evacuate waste in its entirety.  Retail environment where these latrines are used by both the employees and the patrons.

Proposal to provide and perform the following:

• Remove two (2) flush valves

• Supply two (2) hardwired flush valves

• Install two (2) hardwired flush valves

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA166 Coraopolis |  |  |  |  |  |  |  |  |
| Automatic flush valves |  |  |  |  |  |  |  |  |
| CSS #16252 - CMI # 6785 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.11.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 5 |  |  |  |  |  | $ 490.00 |
| 1.2 Pressure Relief valve |  |  |  |  | $ - | $ - | $ - | $ 707.92 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,197.92 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,491.92 |