Repair exhaust fan in OMS latrine, currently not working.

Repair Exhaust Fan in OMS Latrine

Labor and material to replace broken exhaust fan in the OMS Latrine

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| WV002 Beaver |  |  |  |  |  |  |  |  |
| Repair exhaust fan in OMS latrine |  |  |  |  |  |  |  |  |
| CSS #14500 - CMI # 5182 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.06.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 8 |  |  |  |  |  | $ 920.00 |
| 1.2 Exhaust fan |  |  |  |  | $ - | $ - | $ - | $ 456.00 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 65.00 |
| 1.4 Trip Charge |  |  |  |  |  |  |  | $ 35.00 |
| 1.5 Service Supply Charge |  |  |  |  |  |  |  | $ 25.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,501.00 |