Latrine electric wall heater heating elements are not heating. PMC needs to pull the unit to diagnose the repair requirements and make necessary repairs.

Latrine Electric Wall Heater Elements are not heating.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| WV005 Cumberland |  |  |  |  |  |  |  |  |
| Latrine electric wall heater heating elements |  |  |  |  |  |  |  |  |
| CSS #14538 - CMI # 5156 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.14.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 8 |  |  |  |  |  | $ 920.00 |
| 1.2 Labor Warranty |  |  |  |  |  |  |  | $ 43.68 |
| 1.3 Wall Heaters |  |  |  |  | $ - | $ - | $ - | $ 218.16 |
| 1.4 Misc. Parts |  |  |  |  |  |  |  | $46.25 |
| 1.5 Shipping |  |  |  |  |  |  |  | $ 78.00 |
| 1.6 Trip Charge |  |  |  |  |  |  |  | $ 178.50 |
| 1.7 Supply Charge |  |  |  |  |  |  |  | $ 15.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,499.59 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,499.59 |