| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| WV020 Jane Lew |  |  |  |  |  |  |  |  |
| 3 out of 4 pole light are out |  |  |  |  |  |  |  |  |
| CSS #14872 - CMI # 5177 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.07.18 |  |  |  |  |  |  |  |  |
| Asset # 7436 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 6.5 |  |  |  |  |  | $ 552.50 |
| 1.2 LED Wall Packs/twist in photocell |  |  |  |  | $ - | $ - | $ - | $ 1,400.40 |
| 1.3 Lift Rental |  |  |  |  |  |  |  | $ 150.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,102.90 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 85.00 | 3.5 |  |  |  |  |  | $ 297.50 |
| 2.2 Lift Rental |  |  |  |  |  |  |  | $ 150.00 |
| 2.3 Minus $250 Cost of CM Credit |  |  |  |  |  |  |  | ($250.00) |
| Grand Total |  |  |  |  |  |  |  | $ 2,300.40 |

Corrective Maintenance: Asset 7436, 3 out of 4 pole light are out. Need to be replaced

Labor & Material to replace 3 high pole lights & 3 wall packs.