Repair boiler and pump in mechanical room in Motor Pool. Numerous alarms daily are going off - need a tech soon to figure out what's causing this.

Repair boiler and pump in mechanical room in Motor Pool. Numerous alarms daily are going off.

Hot Water Pump Coupling needs to be replaced

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| WV020 Lew |  |  |  |  |  |  |  |  |
| Repair boiler and pump in mechanical room |  |  |  |  |  |  |  |  |
| CSS #15997 - CMI # 6421 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.04.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor Mechanic | $ 115.00 | 4 |  |  |  |  |  | $ 460.00 |
| 1.2 Labor Apprentice | $ 93.00 | 4 |  |  |  |  |  | $ 372.00 |
| 1.3 Material |  |  |  |  | $ - | $ - | $ - | $ 191.57 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,023.57 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,023.57 |