Lifting cable on overhead door located in Drill Hall needs to be replaced. Request is for vendor to replace broken cables and evaluate/repair damage to bottom panel of door. This door is inoperable until repairs are made.

Proposal is for Labor & Furnish & Install:

- One (1) Overhead Door Model 591 bottom section to match existing color.

- One (1) New pneumatic safety edge kit.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| WV041 Weirton |  |  |  |  |  |  |  |  |
| Lifting cable on overhead door |  |  |  |  |  |  |  |  |
| CSS #12968 - CMI # 4874 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.11.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 2 men 4 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 880.10 |
| (1) Overhead Door Model 591 bottom section |  |  |  |  |  |  |  |  |
| (1) New Pneumatic satety edge kit |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,664.10 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,664.10 |