| PROPOSAL |  |
| --- | --- |
| INVOICE | x |
| DIAGNOSTIC |  |

Today's Date: 12/7/2020

Customer Name: Joe Bayne

| CSS/INVOICE# CSS#27684 | DATE(S) OF SERVICE | LOCATION Fort Wadsworth Bldg 356 |
| --- | --- | --- |

| JOB DESCRIPTION removing violations from 2 boilers inspection in order to pass state inspection. Triad Boilers, must have proper safety isolation switch located on boiler to properly provide service isolation when providing service or maintenance on boiler. There are presently 2 emergency switches on wall located in mechanical room, however there is no isolation switch present on boiler to shut down during service or maintenance. |  |
| --- | --- |
| PARTS FOR 2 BOILERS 2 4 inch 4x4 junction box 4 Bx fittings 1 roll wire #12 gauge 2 single pole isolation switch (20 AMP) | COST TOTAL $300.00 |
| LABOR FOR BOTH BOILERS 8 hours 1 mechanic 1 helper | COST $1,200.00 |
| TAX |  |
| TOTAL | $1,500.00 |