## MD002-00007
Site | Facility # | Zone | ELIN | Section J | Inventory Type | Company | Asset # | Description | Quantity | Equipment Number | Location | Manufacturer | Model No. | Serial No. | Capacity | Misc Notes
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-A1 | 1 | 10-ACHP-A1 | Exterior | Panasonic | U-96MF1U9 | 0025444
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-A2 | 1 | 10-ACHP-A2 | Exterior | Panasonic | U-96MF1U9 | 0025044
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-B1 | 1 | 10-ACHP-B1 | Exterior | Panasonic | U-96MF1U9 | 0003551
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-B2 | 1 | 10-ACHP-B2 | Exterior | Panasonic | U-96MF1U9 | 0025144
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-C1 | 1 | 10-ACHP-C1 | Exterior | Panasonic | U-96MF1U9 | 0003351
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-C2 | 1 | 10-ACHP-C2 | Exterior | Panasonic | U-96MF1U9 | 0024644
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-C3 | 1 | 10-ACHP-C3 | Exterior | Panasonic | U-96MF1U9 | 0024744
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-D1 | 1 | 10-ACHP-D1 | Exterior | Panasonic | U-96MF1U9 | 0001651
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-D2 | 1 | 10-ACHP-D2 | Exterior | Panasonic | U-96MF1U9 | 0002151
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-E1 | 1 | 10-ACHP-E1 | Exterior | Panasonic | U-96MF1U9 | 0003651
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Outdoor Unit - 10-ACHP-E2 | 1 | 10-ACHP-E2 | Exterior | Panasonic | U-96MF1U9 | 0003451
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-1A | 1 | 10-ACCU-1A | Exterior | Panasonic | CU-KS30NKUA | 0004953
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-1B | 1 | 10-ACCU-1B | Exterior | Panasonic | CU-KS30NKUA | 0005253
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-2 | 1 | 10-ACCU-2 | Exterior | Panasonic | CU-KS30NKUA | 0004653
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-3 | 1 | 10-ACCU-3 | Exterior | Panasonic | CU-E24NKUA | 6657504096
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-4 | 1 | 10-ACCU-4 | Exterior | Panasonic | CU-KS30NKUA | 0004453
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-5 | 1 | 10-ACCU-5 | Exterior | Panasonic | CU-KS30NKUA | 0003653
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-6 | 1 | 10-ACCU-6 | Exterior | Johnson Controls | J25YCC00A4BLD4A | N1D6544909
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Outdoor Unit - 10-ACCU-7 | 1 | 10-ACCU-7 | Exterior | Johnson Controls | J15YCC00A4BLD4A | N1D6540247
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | AHU - Dedicated Outdoor Air System - 10-DOAS-1 | 1 | 10-DOAS-1 | Mech | Innovent | ERU-SS-WH-5600-DX-IF-460 | 2107401.0020
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | AHU - Dedicated Outdoor Air System - 10-DOAS-2 | 1 | 10-DOAS-2 | Assembly Mech | Greenheck | ERCH-45-15H-S-16-01 | 14513373
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Supply Fan - 10-SF-01 | 1 | 10-SF-01 | T144 | Greenheck | BSQ70
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Supply Fan - 10-SF-02 | 1 | 10-SF-02 | T141 TER | Greenheck | BSQ70
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Supply Fan - 10-SF-03 | 1 | 10-SF-03 | T266 TR | Greenheck | BSQ70
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-01 | 1 | 10-EF-01 | Mail Room | Greenheck | BSQ70
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-02 | 1 | 10-EF-02 | T145 | Greenheck | BSQ90
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-03A | 1 | 10-EF-03A | Above Ceiling | Fantec | HP220 |  |  | Radon Mitigation Duct Fan
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-03B | 1 | 10-EF-03B | Above Ceiling | Fantec | HP220 |  |  | Radon Mitigation Duct Fan
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-03C | 1 | 10-EF-03C | Above Ceiling | Fantec | HP220 |  |  | Radon Mitigation Duct Fan
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-03D | 1 | 10-EF-03D | 154 | Fantec | HP220 |  |  | Radon Mitigation Duct Fan
MD002 | MD002-00007 | 2 | B177 | J‐1502000‐07 | EXHAUST AND TRANSFER FAN INVENTORY | TW | XXXX | Exhaust Fan - 10-EF-03E | 1 | 10-EF-03E | Above Ceiling | Fantec | HP220 |  |  | Radon Mitigation Duct Fan
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Indoor Unit - 10-AC-1A | 1 | 10-AC-1A | 141 | Panasonic | CS-KE30NKU
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Indoor Unit - 10-AC-1B | 1 | 10-AC-1B | 141 | Panasonic | CS-KE30NKU
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Indoor Unit - 10-AC-2 | 1 | 10-AC-2 | SIPR Room | Panasonic | CS-KE30NKU
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Indoor Unit - 10-AC-3 | 1 | 10-AC-3 | 144 | Panasonic | CS-EZ4NKUA | 2994903863
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Indoor Unit - 10-AC-4 | 1 | 10-AC-4 | 115 | Panasonic | CS-KS30KNU | 3683
MD002 | MD002-00007 | 2 | B182 | J-1502000-15 | MINI-SPLIT INVENTORY | TW | XXXX | Mini Split System DX Indoor Unit - 10-AC-5 | 1 | 10-AC-5 | 232 | Panasonic | CS-KS30KNU | 4353
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-1A | 1 | 10-VRF-1A | 101 Lobby | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-2A | 1 | 10-VRF-2A | 103 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-3A | 1 | 10-VRF-3A | 104 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-4A | 1 | 10-VRF-4A | 105 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-5A | 1 | 10-VRF-5A | 106 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-6A | 1 | 10-VRF-6A | 107 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-7A | 1 | 10-VRF-7A | 108 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-8A | 1 | 10-VRF-8A | 109 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-9A | 1 | 10-VRF-9A | 110 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-10A | 1 | 10-VRF-10A | 111 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-11A | 1 | 10-VRF-11A | 112 | Panasonic | S-09MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-12A | 1 | 10-VRF-12A | 113 | Panasonic | S-09MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-13A | 1 | 10-VRF-13A | 114 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-14A | 1 | 10-VRF-14A | 117 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-15A | 1 | 10-VRF-15A | 118 | Panasonic | S-36MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-16A | 1 | 10-VRF-16A | 100 Vestibule | Panasonic | S-09MK1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-1B | 1 | 10-VRF-1B | 120 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-2B | 1 | 10-VRF-2B | 121 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-3B | 1 | 10-VRF-3B | 123 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-4B | 1 | 10-VRF-4B | 124 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-5B | 1 | 10-VRF-5B | 125 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-6B | 1 | 10-VRF-6B | 126 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-7B | 1 | 10-VRF-7B | 129 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-8B | 1 | 10-VRF-8B | 131 | Panasonic | S-18MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-9B | 1 | 10-VRF-9B | 132 | Panasonic | S-18MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-10B | 1 | 10-VRF-10B | 133 | Panasonic | S-18MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-11B | 1 | 10-VRF-11B | 134 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-12B | 1 | 10-VRF-12B | 135 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-13B | 1 | 10-VRF-13B | 136 | Panasonic | S-12MY1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-14B | 1 | 10-VRF-14B | 137 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-15B | 1 | 10-VRF-15B | 138 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-16B | 1 | 10-VRF-16B | 130 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-17B | 1 | 10-VRF-17B | 143 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-18B | 1 | 10-VRF-18B | 136 | Panasonic | S-12MY1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-1C | 1 | 10-VRF-1C | 146 | Panasonic | S-07MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-2C | 1 | 10-VRF-2C | 148 | Panasonic | S-12MY1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-3C | 1 | 10-VRF-3C | 150 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-4C | 1 | 10-VRF-4C | 151 | Panasonic | S-09MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-5C | 1 | 10-VRF-5C | 152 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-6C | 1 | 10-VRF-6C | 153 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-7C | 1 | 10-VRF-7C | 154 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-8C | 1 | 10-VRF-8C | 157 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-9C | 1 | 10-VRF-9C | 159 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-10C | 1 | 10-VRF-10C | 159 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-11C | 1 | 10-VRF-11C | 163 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-12C | 1 | 10-VRF-12C | 145A | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-1D | 1 | 10-VRF-1D | 201 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-2D | 1 | 10-VRF-2D | 202 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-3D | 1 | 10-VRF-3D | 203 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-4D | 1 | 10-VRF-4D | 204 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-5D | 1 | 10-VRF-5D | 208 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-6D | 1 | 10-VRF-6D | 209 | Panasonic | S-12MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-7D | 1 | 10-VRF-7D | 210 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-8D | 1 | 10-VRF-8D | 211 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-9D | 1 | 10-VRF-9D | 212 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-10D | 1 | 10-VRF-10D | 213 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-11D | 1 | 10-VRF-11D | 214 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-12D | 1 | 10-VRF-12D | 215 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-13D | 1 | 10-VRF-13D | 216 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-14D | 1 | 10-VRF-14D | 217 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-15D | 1 | 10-VRF-15D | 233A | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-1E | 1 | 10-VRF-1E | 218 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-2E | 1 | 10-VRF-2E | 219 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-3E | 1 | 10-VRF-3E | 220 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-4E | 1 | 10-VRF-4E | 221 | Panasonic | S-12MF1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-5E | 1 | 10-VRF-5E | 222 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-6E | 1 | 10-VRF-6E | 224 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-7E | 1 | 10-VRF-7E | 229 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-8E | 1 | 10-VRF-8E | 230 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-9E | 1 | 10-VRF-9E | 231 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-10E | 1 | 10-VRF-10E | 223B | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-11E | 1 | 10-VRF-11E | 234 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-12E | 1 | 10-VRF-12E | 235 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | VRF Indoor Unit - 10-VRF-13E | 1 | 10-VRF-13E | 236 | Panasonic | S-09MD1U6
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-1A | 1 | 10-VRF-1A | 101 Lobby
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-2A | 1 | 10-VRF-2A | 103
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-3A | 1 | 10-VRF-3A | 104
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-4A | 1 | 10-VRF-4A | 105
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-5A | 1 | 10-VRF-5A | 106
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-6A | 1 | 10-VRF-6A | 107
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-7A | 1 | 10-VRF-7A | 108
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-8A | 1 | 10-VRF-8A | 109
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-9A | 1 | 10-VRF-9A | 110
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-10A | 1 | 10-VRF-10A | 111
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-11A | 1 | 10-VRF-11A | 112
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-12A | 1 | 10-VRF-12A | 113
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-13A | 1 | 10-VRF-13A | 114
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-14A | 1 | 10-VRF-14A | 117
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-15A | 1 | 10-VRF-15A | 118
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-16A | 1 | 10-VRF-16A | 100 Vestibule
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-1B | 1 | 10-VRF-1B | 120
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-2B | 1 | 10-VRF-2B | 121
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-3B | 1 | 10-VRF-3B | 123
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-4B | 1 | 10-VRF-4B | 124
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-5B | 1 | 10-VRF-5B | 125
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-6B | 1 | 10-VRF-6B | 126
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-7B | 1 | 10-VRF-7B | 129
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-8B | 1 | 10-VRF-8B | 131
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-9B | 1 | 10-VRF-9B | 132
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-10B | 1 | 10-VRF-10B | 133
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-11B | 1 | 10-VRF-11B | 134
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-12B | 1 | 10-VRF-12B | 135
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-13B | 1 | 10-VRF-13B | 136
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-14B | 1 | 10-VRF-14B | 137
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-15B | 1 | 10-VRF-15B | 138
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-16B | 1 | 10-VRF-16B | 130
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-17B | 1 | 10-VRF-17B | 143
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-18B | 1 | 10-VRF-18B | 136
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-1C | 1 | 10-VRF-1C | 146
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-2C | 1 | 10-VRF-2C | 148
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-3C | 1 | 10-VRF-3C | 150
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-4C | 1 | 10-VRF-4C | 151
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-5C | 1 | 10-VRF-5C | 152
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-6C | 1 | 10-VRF-6C | 153
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-7C | 1 | 10-VRF-7C | 154
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-8C | 1 | 10-VRF-8C | 157
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-9C | 1 | 10-VRF-9C | 159
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-10C | 1 | 10-VRF-10C | 159
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-11C | 1 | 10-VRF-11C | 163
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-12C | 1 | 10-VRF-12C | 145A
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-1D | 1 | 10-VRF-1D | 201
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-2D | 1 | 10-VRF-2D | 202
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-3D | 1 | 10-VRF-3D | 203
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-4D | 1 | 10-VRF-4D | 204
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-5D | 1 | 10-VRF-5D | 208
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-6D | 1 | 10-VRF-6D | 209
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-7D | 1 | 10-VRF-7D | 210
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-8D | 1 | 10-VRF-8D | 211
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-9D | 1 | 10-VRF-9D | 212
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-10D | 1 | 10-VRF-10D | 213
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-11D | 1 | 10-VRF-11D | 214
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-12D | 1 | 10-VRF-12D | 215
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-13D | 1 | 10-VRF-13D | 216
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-14D | 1 | 10-VRF-14D | 217
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-15D | 1 | 10-VRF-15D | 233A
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-1E | 1 | 10-VRF-1E | 218
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-2E | 1 | 10-VRF-2E | 219
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-3E | 1 | 10-VRF-3E | 220
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-4E | 1 | 10-VRF-4E | 221
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-5E | 1 | 10-VRF-5E | 222
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-6E | 1 | 10-VRF-6E | 224
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-7E | 1 | 10-VRF-7E | 229
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-8E | 1 | 10-VRF-8E | 230
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-9E | 1 | 10-VRF-9E | 231
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-10E | 1 | 10-VRF-10E | 223B
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-11E | 1 | 10-VRF-11E | 234
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-12E | 1 | 10-VRF-12E | 235
MD002 | MD002-00007 | 2 | B183 | J‐1502000‐17 | THERMOSTAT INVENTORY | TW | XXXX | Thermostat - 10-VRF-13E | 1 | 10-VRF-13E | 236
MD002 | MD002-00007 | 2 | B181 | J-1502000-14 | HUMIDIFIER INVENTORY | TW | XXXX | Dehumidifier - 10-DH-1 | 1 | 10-DH-1 | T146 | EBAC | CD60-10264FR-US
MD002 | MD002-00007 | 2 | B181 | J-1502000-14 | HUMIDIFIER INVENTORY | TW | XXXX | Dehumidifier - 10-DH-2 | 1 | 10-DH-2 | T145A | EBAC | CD60-10264FR-US
MD002 | MD002-00007 | 2 | B178 | J-1502000-08 | FAN COILS AND UNIT HEATER INVENTORY | TW | XXXX | Unit Heater - Electric - 10-UH-1 | 1 | 10-UH-1 | T142 | Indeeco | 240-U1033C
MD002 | MD002-00007 | 2 | B178 | J-1502000-08 | FAN COILS AND UNIT HEATER INVENTORY | TW | XXXX | Unit Heater - Electric - 10-UH-2 | 1 | 10-UH-2 | T168 | Indeeco | 240-U1033C
MD002 | MD002-00007 | 2 | B178 | J-1502000-08 | FAN COILS AND UNIT HEATER INVENTORY | TW | XXXX | Unit Heater - Electric - 10-UH-3 | 1 | 10-UH-3 | T225 | Indeeco | 240-U1033C
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | Variable Frequency Drive | 1 |  | Mech | Trane | TR200 17469495 | 121404Y516
MD002 | MD002-00007 | 2 | B174 | J-1502000-04 | HVAC AND REFRIGERATION SYSTEM INVENTORY | TW | XXXX | Variable Frequency Drive | 1 |  | Mech | Trane | TR200 17469495 | 120304Y516
MD002 | MD002-00007 | 2 | B189 | J-1502000-27 | WATER HEATER INVENTORY | TW | XXXX | Water Heater, DW | 1 |  | Mech | AO Smith | SUF119400NEA 200 | 1426M001692
MD002 | MD002-00007 | 2 | NA | J-1502000-16 | HVAC CONTROL SYSTEM INVENTORY | TW | XXXX | Building Automation System | 1 |  | Mech | Johnson Controls | Niagra
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | Circulating Pump, DW | 1 |  | Mech | B&G | PL-30B | 1BL013LF
MD002 | MD002-00007 | 2 | B190 | J-1502000-29 | BACKFLOW PREVENTION DEVICE INVENTORY | TW | XXXX | Backflow Preventer, DW | 1 |  | Mech | Wilkings Zurn | 375AST | 8543C | 3"
MD002 | MD002-00007 | 2 | B190 | J-1502000-29 | BACKFLOW PREVENTION DEVICE INVENTORY | TW | XXXX | Backflow Preventer, Fire | 1 |  | Mech | AMES | 2000 SS | 1761920915 | 8"
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | Expansion Tank | 1 |  | Mech | Amtrol | 16-4488 | 343790
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 152
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 145
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 138
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 129
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 117
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 112
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 162
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 209
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 204
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 213
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 226
MD002 | MD002-00007 | 2 | B180 | J-1502000-12 | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | TW | XXXX | VRF Condensate Pump - Above Ceiling | 1 |  | 233
MD002 | MD002-00007 | 2 | B192 | J-1502000-42 | LIGHTNING AND GROUNDING DEVICES | TW | XXXX | Lighting Protection - Grounding Bus Bar | 1 |  | 143
MD002 | MD002-00007 | 2 | B192 | J-1502000-42 | LIGHTNING AND GROUNDING DEVICES | TW | XXXX | Lighting Protection - Lighting Rods | 80 |  | Roof
MD002 | MD002-00007 | 2 | B201 | J-1502000-55 | VAULT DOOR INVENTORY | TW | XXXX | Vault Door | 1 |  | 146 | Mosler | SD-4078-5R | 3190074
MD002 | MD002-00007 | 2 | B201 | J-1502000-55 | VAULT DOOR INVENTORY | TW | XXXX | Vault Door | 1 |  | 145A | International Vault Door | SC-4078 | 10049
MD002 | MD002-00007 | 2 | B184 | J-1502000-18 | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | TW | XXXX | Vault Security Panel | 3 |  | 146 | Advantor
MD002 | MD002-00007 | 2 | B184 | J-1502000-18 | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | TW | XXXX | Vault Motion Sensors | 7 |  | 146
MD002 | MD002-00007 | 2 | B184 | J-1502000-18 | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | TW | XXXX | Vault Security Panel | 3 |  | 145A | Advantor
MD002 | MD002-00007 | 2 | B184 | J-1502000-18 | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | TW | XXXX | Vault Motion Sensors | 4 |  | 145A
MD002 | MD002-00007 | 2 | B197 | J-1502000-44 | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | TW | XXXX | Exterior Wall Pack Flood Lights, LED | 5 |  | Exterior
MD002 | MD002-00007 | 2 | NA | J-1502000-53 | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | TW | XXXX | Auto Access Key Pad | 2 |  | Exterior | Veridt
MD002 | MD002-00007 | 2 | NA | J-1502000-53 | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | TW | XXXX | Airphone | 2 |  | Exterior
MD002 | MD002-00007 | 2 | B197 | J-1502000-44 | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | TW | XXXX | Pole Lights, Exterior Walkway | 4 |  | Exterior