S&S Mechanical    	   	   	   	   	   	Office # 301-574-1555

Job Location :MD020	   	   	   	Fax # 301-574-1558

Proposal Submitted to: Rick Hicks   	   	   	seth@sandsmidatlantic.com

Project: 6829	   	   	   	   	sandsmidatlantic.com

S&S proposes to furnish the labor and material necessary for the completion of the following

- S&S located the broken pressure relief valve on boiler #2.

- S&S will isolate the boilers.

- S&S proposes to replace the pressure relief valve with new.

- The unit is currently drained down and water is shut off to the unit.

- We will return everything back to service once relief valve is replaced.

- Work will take place during normal business hours.

Labor = $600.00

- 6 hours / 1 technician

Material = $484.68

- 1-1/4” Pressure Relief Valve/ Qty 1/ $370.19

- 1-1/2” x 1-1/2” male adapter/ Qty 1/ $33.55

- 1-1/2” propress 90/ Qty 1 / $34.76

- 1-1/2” propress coupling/ Qty 1/ $18.20

- 1-1/4” x 4” black steel nipple/ Qty 1/ $4.90

- Taxes = $23.08

Total Cost = $1,084.68

Payment is due upon receipt of invoice.

Respectfully submitted: Seth Brannon/ Melissa Long 	Dated 11/26/2018

Any alteration or deviation from the above specs

will result in a deviation of costs. If not accepted within 30 day’s

Contract can withdrawn & renegotiated under new terms if applicable

All agreements contingent upon weather, accidents, or delays beyond

our control.

The above prices , specifications and conditions are satisfactory and are hereby accepted.

You are authorized to do the work as specified. Payments will be made as outlined above.

Date :                                   	 	Signature :