| Additional Funding Request Submitted: 3/25/2019 |  |
| --- | --- |
| MD020 – Shower handle | CSS #17971 WO#7994 |
| Description of Repairs | 2nd floor men's room - there is a showerhead with a slow leak |
| Diagnosis: Initial Work Order | S&S proposes to furnish the labor and material necessary for the completion of the following: - S&S will remove the broken shower handle and replace with new compatible handle. - Work will take place during normal business hours. |
| Explanation of Additional Costs for Repairs | Additional part needed, shower handle |
| Investigative Diagnosis fee from SC | Diagnostic Total: $450.00 (already billed) |
| Additional Material Cost to Perform Repairs | Material: $50.76 Shower handle/ PF7610GCP/=$45.31 Tax: $5.45 |
| Additional Labor Cost to Perform Repairs | Labor: $250.00 1 Plumber /2.5 hours/ Rate $100.00 per hour = $250.00 |
| Total Cost | $300.76 |