Need electrical work in E&C Maintenance Bay. Currently only have one working outlet in the bay, need to have 4 addition outlets added

| Proposal to Install New Circuits Truck Bay # 2 Repair Receptacles Truck Bay #1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Install 2 New 20 Amp Circuits from main panel box to truck bay # 2 |  |  |  |  |
| Install 4- GFCI receptacles in two opposite walls for general use. |  |  |  |  |
| Replace 4 - faulty GFCI receptacles in truck bay # 1 |  |  |  |  |
| Install New circuit breakers for new circuit. |  |  |  |  |
| Install EMT conduit/ MC cable for new wiring of circuits |  |  |  |  |

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Need electrical work in E&C maintenance bay. |  |  |  |  |  |  |  |  |
| CSS #22138 - CMI # 6874 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 20 |  |  |  |  |  | $ 2,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,234.10 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,234.10 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| CE factor .9% |  |  |  |  |  |  |  | -$323.41 |
| Grand Total |  |  |  |  |  |  |  | $2,910.69 |