During recent wind storm several shingles were blown off roof. Water is leaking into building into first floor hallway. There are 3 areas which shingles blew off.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Repair Roof. During recent wind storm |  |  |  |  |  |  |  |  |
| CSS #22684 - CMI #10288 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.05.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 3 guys 8 hrs each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 570.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $450.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,060.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.2 CE Factor .90% |  |  |  |  |  |  |  | ($306.00) |
| Grand Total |  |  |  |  |  |  |  | $ 2,754.00 |

After diagnosing the problem, we found out that water leak is coming from mechanical room above. There is a pipe leak at mechanical room.

Here is my proposal:

- REPLACE DAMAGED SHINGLE ROOF. (apxm.220 sq.ft.).

- REMOVE DAMAGED UNDER WOOD DECKING (apxm. 120 sq.ft.).

- PROVIDE ANDINSTALL NEW PLYWOOD.

- PROVIDE AND INSTALL NEW WEATHER SHEETING AND SHINGLES.