Multiple emergency lights are out throughout the building.

Proposal to.

- Replace (14) Exit light batteries 4ph44

- Replace (6) exit signs with emergency light

- Replace (4) emergency light assemblies

- Replace (10) wall exit signs w/battery backup

- Replace (4) ceiling mount exit signs w/battery back up

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Top of Form Multiple emergency lights |  |  |  |  |  |  |  |  |
| CSS #22685 - CMI # 6863 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.28.2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 32 |  |  |  |  |  | $ 2,560.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,622.51 |
| 1.3 Misc |  |  |  |  |  |  |  | $1,236.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 7,419.01 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 222.57 |
| Grand Total |  |  |  |  |  |  |  | $ 7,641.58 |