| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Emergency lights are out throughout |  |  |  |  |  |  |  |  |
| CSS #22685 - CMI # 6863 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.13.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 22 |  |  |  |  |  | $ 1,760.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 1,811.25 |
| 1.3 Misc |  |  |  |  |  |  |  | $714.25 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,285.50 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 128.56 |
| Grand Total |  |  |  |  |  |  |  | $ 4,414.06 |

Multiple emergency lights are out throughout the building.

Proposal to

- Replace (7) Exit light batteries 4ph44

- Replace (3) exit signs with emergency light

- Replace (2) emergency light assemblies

- Replace (5) wall exit signs w/battery backup

- Replace (2) ceiling mount exit signs w/battery back up