Multiple exterior security lights are not working. A lift will be needed to excess the lights.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Multiple exterior security lights |  |  |  |  |  |  |  |  |
| CSS #22686 - CMI # 6864 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.07.2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 42 |  |  |  |  |  | $ 3,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 9,659.11 |
| 1.3 Misc |  |  |  |  |  |  |  | $2,603.82 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 15,622.93 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .9% |  |  |  |  |  |  |  | ($1,562.30) |
| Grand Total |  |  |  |  |  |  |  | $ 14,060.63 |

Proposal to:

- Replace (7) pulse ballasts Granger 6xpw6

- Replace (7) 1000 watt 2v659 Granger Bulbs

- Replace (9) pulse ballasts Granger 250w 5yg60

- Replace (9)250watt 3apk1 Granger bulbs

- Replace (11) 1xuf2 Granger Ballast kits

- Replace (11) 5V943 Granger Bulbs

- Replace (5) 1AO32 Granger ballast kit

- Replace (5) 2v632 Granger bulbs