| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| O&A |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| 17 Exterior Security Lights |  |  |  |  |  |  |  |  |
| CSS #22686 - CMI # 6864 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.13.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 34 |  |  |  |  |  | $ 2,720.00 |
| 1.2 Wall pack LED fixtures $484 each x 17/photo control |  |  |  |  | $ - | $ - | $ - | $ 8,930.00 |
| 1.4 Lift rental |  |  |  |  |  |  |  | $ 1,280.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 12,930.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 387.90 |
| Grand Total |  |  |  |  |  |  |  | $ 13,317.90 |

Replace 17 Security lights as directed. 13 of those lights on the front of the building and 4 on the rear of the building.

Proposal to - Replace 17 Security lights as directed

- (13) Front of building

- (4) Rear of building

- A lift is required; lights are 20 plus feet up on the building.