6 Commodes and 6 urinals in building are not flushing. appears that flushometers may be jammed or clogged due to recent water main break in city of Albany.

Proposal to:

- Rebuild (6) commode flushometers and (6) Urinal flushometers

- Disassemble and clean mineral deposits from valve bodies.

- Install Repair/seal & diaphragm kits

- Install vacuum breaker assemblies

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| 6 Commodes and 6 urinals |  |  |  |  |  |  |  |  |
| CSS #22687 - CMI # 6865 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.07.2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 30 |  |  |  |  |  | $ 2,400.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 600.40 |
| 1.3 Misc |  |  |  |  |  |  |  | $600.08 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,600.48 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .9% |  |  |  |  |  |  |  | ($360.05) |
| Grand Total |  |  |  |  |  |  |  | $ 3,240.43 |