1st floor of building is flooded with approximately 2 inches of water. I believe the source is ground 
water coming from the outside walls.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| 1st Floor flooding - clean up |  |  |  |  |  |  |  |  |
| CSS #22974 - CMI # 6501 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.11.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 42 |  |  |  |  |  | $ 3,360.00 |
| 1.2 Dehumidifier rental |  |  |  |  | $ - | $ - | $ - | $ 584.00 |
| $292 per wk, 2 week rental |  |  |  |  |  |  |  |  |
| 1.3 Industrial fan rental |  |  |  |  |  |  |  | $240.00 |
| $120 per wk, 2 week rental |  |  |  |  |  |  |  |  |
| 1.4 Misc |  |  |  |  |  |  |  | $ 836.80 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,020.80 |
| CE Factor .9% |  |  |  |  |  |  |  | ($502.80) |
| Grand Total |  |  |  |  |  |  |  | $ 4,518.72 |

Mobilize fans, Dehumidifiers, wet vacs and Pumps

- Pump standing water and clean aprox 5000sq/ft

- Wet-Vac and Mop affected floor areas.

- Move any wipe down any furniture chairs etc.

- Mop floors with disinfectant cleaner.

- Place (2) dehumidifiers and (4) fans and move as necessary.

- Demobilize fans and dehumidifiers in 1 week