Sump pump in boiler room will not turn on. Believe the motor is burnt up.

** Work above has been approved **

Tech found that the pump control panel also needs to be replaced along with the floats. The cost below is for this job.

Proposal to:

- Install Dayton Pump Control Panel.

- Replace switching floats and adjust

Relays on existing panel have failed due to old pump that was locked up

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Install pump control panel |  |  |  |  |  |  |  |  |
| CSS #34211 - CMI #17208 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.09.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 5 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,990.20 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 518.04 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,108.24 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 93.24 |
| Grand Total |  |  |  |  |  |  |  | $ 3,201.48 |