Repair Glycol Tank. Tank is in alarm due to low glycol in tank..

Proposal to:

Fill two (2) tanks each, with 30 gallons of aluminum safe glycol mixture (50-50 %)

Laars Boiler #1 G18434637/S# 434637

Laars Boiler #2 G18443712/S# 443712

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Glycol Tank |  |  |  |  |  |  |  |  |
| CSS #901 - CMI #17661 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.30.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 172.00 | 16 |  |  |  |  |  | $ 2,752.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,944.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 172.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,868.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Initial diagnostic | $ 172.00 | 1.5 |  |  |  |  |  | $ 258.00 |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 153.78 |
| Grand Total |  |  |  |  |  |  |  | $ 5,279.78 |