| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| repair tiger pumps in well house |  |  |  |  |  |  |  |  |
| CSS #23262 - CMI # 6905 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 2.12.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 158.00 | 32 |  |  |  |  |  | $ 5,056.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,148.00 |
| See attached for breakdown |  |  |  |  |  |  |  |  |
| 1.3 Gantry / Misc |  |  |  |  |  |  |  | $627.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 7,831.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| CE Factor .90% |  |  |  |  |  |  |  | ($783.10) |
| Grand Total |  |  |  |  |  |  |  | $ 7,047.90 |

Repair tiger pumps in the Well house.

Proposal to provide necessary labor and materials to make the following repairs at the SSG Fredrick J. ILL ARC 2500 Rt 17K, Bullville, NY 10915

Tiger Flow System

- Remove two (2) Gould’s pumps with portable gantry crane

- Clean, service and replace seals

- Re-install

- Replace pressure regulator for pump 2

- Start and test

- Further check automatic controls after pumps are repaired