Repair CAC access computer

SCOPE OF WORK:

QUOTE IS FOR 2 TECHNICIANS FOR 1 8 HOUR DAY TO TROUBLESHOOT CARD ACCESS, QUOTE INCLUDES REPLACEMENT MAIN.

** Requires 2 techs 1 at the head end and 1 in the field **

BOARD WHICH WAS DETERMINED FAILED BY TECH SUPPORT ON PREVIOUS VISIT.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair CAC access computer |  |  |  |  |  |  |  |  |
| CSS #276 - CMI #18257 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.06.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 160.00 | 16 |  |  |  |  |  | $ 2,560.00 |
| 1.2 M2150-4DBC - Symmetry M2150 4DBC 4 Reader Panel BOARD |  |  |  |  | $ - | $ - | $ - | $ 1,621.00 |
| 1.3 20% Material Markup |  |  |  |  | $ - | $ - | $ - | $ 324.20 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,555.20 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 136.65 |

| Grand Total |  |  |  |  |  |  |  | $ 4,691.85 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |