Repair potable water supply system. No water is being delivered to the facility buildings. Pumps inoperative.

Proposal to:

Tiger Flow System Series VMS-4000 Product #336574

- Remove and replace existing check valves with 2 new OEM 3” silent check valves

- Remove sand replace existing pressure regulator valve with new OEM PRV

- Start, test and adjust operation of system with new components installed

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair potable water supply system. |  |  |  |  |  |  |  |  |
| CSS #28256 - CMI #11472 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 161.00 | 12 |  |  |  |  |  | $ 1,932.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,031.00 |
| 1.3 Freight |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,963.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 161.00 | 2.5 |  |  |  |  |  | $ 402.50 |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $ 133.21 |
| Grand Total |  |  |  |  |  |  |  | $ 4,573.71 |