During a recent storm, roof shingles, drip edge and fascia came off the dormers on the roof of the Army Reserve Center. Repairs are needed to prevent water damage to the interior of the building.

Option A:

Proposal to

- Provide and install new shingles on damaged areas (apxm.200sq.ft.)

- Install new drip edge and facia, apxm.40 ln.ft, on both dormers.

- Cover with aluminum facia cracked areas.

- Cover chimney with metal cover and seal.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| During a recent storm, roof shingles |  |  |  |  |  |  |  |  |
| CSS #31538 - CMI #14390 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.03.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 1,785.00 |
| 1.2 Material Costs |  |  |  |  | $ - | $ - | $ - | $ 1,980.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,765.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 150.00 |
| 2.2 CE factor 1.03% |  |  |  |  |  |  |  | $ 117.45 |
| Grand Total |  |  |  |  |  |  |  | $ 4,032.45 |