Repair Boiler Flow switches
Found during annual inspection flow switch did not work properly on three boilers. Boiler would not start for testing of safety features.

Proposal to:

1. Replace defective induced draft blower assembly.

2. Start and test boiler

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Boiler Flow switches found |  |  |  |  |  |  |  |  |
| CSS #90371 - CMI #19739 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.15.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 8 |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,248.91 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 125.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,648.91 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 Limited Liability |  |  |  |  |  |  |  | $ (250.00) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.2 Incurred |  |  |  |  |  |  |  | $ 350.00 |
| 2.3 CE Factor .90% |  |  |  |  |  |  |  | $ (299.90) |
| Grand Total |  |  |  |  |  |  |  | $ 2,449.01 |