Repair Septic System.

There is raw sewage coming out of the drains in the female showers and male floor drains. Check of septic sump well shows low levels but no effluent coming into the sump well. Septic Pumps are not coming on at the holding tanks at OMS. Army Reserve Units are working at the facility this weekend.

Proposal to:

While on site A Plus Sewer determined that the existing sewage ejection pump needs to be replaced and outlet pipe is rotted out. It needs to be replaced as well.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Septic System |  |  |  |  |  |  |  |  |
| CSS #90674 - CMI #21042 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.26.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor |  |  |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,100.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,300.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 99.00 |
| Grand Total |  |  |  |  |  |  |  | $ 3,399.00 |