Repair Boiler Pumps Pump #1 in failure and Pump #2 leaking from pressure relief, this is for the Domestic water booster system.

Proposal to:

1. Review all programming and drive set ups.

2. Set to original design specifications.

3. Troubleshooting if required.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Boiler Pumps Pump #1 |  |  |  |  |  |  |  |  |
| CSS #91815 - CMI #21061 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.21.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 8 |  |  |  |  |  | $ 1,200.00 |
| 1.2 Labor – Dolphin Equipment |  |  |  |  | $ - | $ - | $ - | $ 2,880.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,155.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 450.00 |

| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 92.10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 4,697.10 |