Found after repairs to wo 21061 were complete. Found pump # 1 seized.

Proposal to:

1. Remove existing seized pump assembly.

2. Install new pump assembly.

3. Verify electric phase, voltage amps.

4. Verify operation.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Work discovered after repairs to 21061 |  |  |  |  |  |  |  |  |
| CSS #91815 - CMI #21783 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.13.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 20 |  |  |  |  |  | $ 3,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 6,594.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 9,669.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 193.38 |

| Grand Total |  |  |  |  |  |  |  | $ 9,862.38 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |