Repair and remount solar pole..

Proposal to:

- Stop. Falling light pole, tighten base.

- Secure the area.

- Repair solar light pole at parking lot.

- Replace washers and nuts on pole base.

- Straighten the pole, bring it at normal, vertical position.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair and remount solar pole. |  |  |  |  |  |  |  |  |
| CSS #1380 - CMI #18253 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.14.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 200.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,240.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnose |  |  |  |  |  |  |  | $ 450.00 |
| 2.2 CE factor 1.03% |  |  |  |  |  |  |  | $ 80.70 |
| Grand Total |  |  |  |  |  |  |  | $ 2,770.70 |