Repair gaps between motor pool gate and pavement.  Noted DES deficiency.  The far side motor pool gate has gaps that exceed 5 inches as well as the man-gate at the back corner of the yard.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair gaps between motor pool gate and pavement |  |  |  |  |  |  |  |  |
| CSS #21272 - CMI # 5613 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.29.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 40 |  |  |  |  |  | $ 3,400.00 |
| 2 men 2.5 days each |  |  |  |  |  |  |  |  |
| 1.2 7 sections of heavy duty 6"l rubber |  |  |  |  | $ - | $ - | $ - | $ 1,855.00 |
| 1.3 6 2"Wx12' L fence pipes |  |  |  |  |  |  |  | $288.00 |
| 1.4 Mobilization |  |  |  |  |  |  |  | $225.00 |
| 1.5 Demobilization |  |  |  |  |  |  |  | $ 225.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,993.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 100.00 | 3 |  |  |  |  |  | $ 300.00 |
| Grand Total |  |  |  |  |  |  |  | $ 6,293.00 |