Repair Traid Condensate boiler E02 Code will not fire Bldg 356

Proposal to:

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair Traid Condensate boiler E02 |  |  |  |  |  |  |  |  |
| CSS #21922 - CMI # 6014 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.28.2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 14.6 |  |  |  |  |  | $ 2,750.00 |
| 1.1a Helper | $ 62.50 | 14.6 |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 480.12 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,230.12 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| CE Factor 1.03% |  |  |  |  |  |  |  | $ 96.90 |
| Grand Total |  |  |  |  |  |  |  | $ 3,237.02 |

Completely isolate supply and return lines feeding boiler along with cold water makeup valve. Bring down entire boiler and remove pro type low water cut off and replace with new. Completely disassemble entire gas burner to access combustion chamber, clean combustion chamber, reassemble all components and put back into proper operation. If any other parts are needed after performing maintenance on this boiler, there will be an extra charge.