Repair 15 High Hat ceiling mounted lighting fixtures Bldg 208 throughout the facility hallways.  Replace Fixture ballast is required

Furnish labor and materials to check 21 one lamp recessed lights in Halls of building # 208. Replace 21 ballasts. If Emergency ballast needs to be replaced there will be another proposal provided.

*1) If Emergency ballasts are needed additional $155.40 per unit

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OVER & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair 15 High Hat ceiling mounted |  |  |  |  |  |  |  |  |
| CSS #22852 - CMI # 6491 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.10.2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $155.00 | 8 |  |  |  |  |  | $1,240.00 |
| 1.2 Material |  |  |  |  | $- | $- | $- | $384.00 |
| 1.3 Ballast $75 x 21 |  |  |  |  |  |  |  | $1,575.00 |
| 1.4 Emergency Ballast $155.40 per unit |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $3,199.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| CE Factor .90% |  |  |  |  |  |  |  | ($319.90) |
| Grand Total |  |  |  |  |  |  |  | $2,879.10 |