Build 358 OMS Repair 8 High Bay Ceiling Mounted Metal Highlight fixtures.  Fixtures are inoperable.

Proposal to:

- Provide and replace 10 High Bay ceiling mounted light fixtures

- New light fixtures will be LED matching existing power and Watt.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Build 358 OMS Repair 8 High |  |  |  |  |  |  |  |  |
| CSS #28550 - CMI #11888 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.05.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 3 guys 8 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,850.00 |
| 1.3 Scissor Lift |  |  |  |  |  |  |  | $550.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,440.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 150.00 |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $167.70 |
| Grand Total |  |  |  |  |  |  |  | $ 5,757.70 |