Bldg 208 Diagnose and repair High Humidity / Condensation issue in the electrical closet on the first floor (East side of the building.)

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Diagnose and repair High Humidity |  |  |  |  |  |  |  |  |
| CSS #28551 - CMI #11889 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.25.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 30 |  |  |  |  |  | $ 2,550.00 |
| 3 guys 10hrs each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,410.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,960.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $118.80 |
| Grand Total |  |  |  |  |  |  |  | $ 4,078.80 |

Proposal to:

- Empty heating system for entire building.

(the system doesn’t have any split valve.)

- Cut damaged 2 ½ in. cupper pipe.

- Provide and attach section of cut pipe.

- Install new 2 ½ in heat pipe insulation.

- Provide and install two 2 ½” heat ball valves.