Bldg. 356 diagnose and repair condenser that won't turn on.

Proposal to:

air cooled liquid chiller for bldg 356. work consists of mounting new display module to machine and reprogramming entire module.

1 computer technician to reprogram machine, 1 day @ 250 an hour

1 day for mechanic to install module and check refrigerant charge

If machine needs refrigerant charge it will be an extra charge for the freon but no additional labor

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Bldg. 356 diagnose and repair condenser |  |  |  |  |  |  |  |  |
| CSS #31022 - CMI #13348 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.14.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor 1 Computer tech | $ 250.00 | 8 |  |  |  |  |  | $ 2,000.00 |
| 1.2 Labor | $ 150.00 | 5 |  |  | $ - |  | $ - | $ 800.00 |
| 1.3 Material |  |  |  |  | $ - | $ - | $ - | $ 2,437.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,237.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 150.00 | 2 |  |  |  |  |  | $ 300.00 |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $ 166.11 |
| Grand Total |  |  |  |  |  |  |  | $ 5,703.11 |