AC leak.

| Over & Above |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NY024 |  |  |  |  |  |  |  |  |
| AC Leak |  |  |  |  |  |  |  |  |
| CSS #31394 - CMI #13994 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.01.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 75.00 | 32 |  |  |  |  |  | $ 2,400.00 |
| 1 mechanic & 1 helper 2 days |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,850.00 |
| 1.3 Lift 2 day rental |  |  |  |  | $ - | $ - | $ - | $ 700.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,950.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 200.00 |
| CE Factor 1.03% |  |  |  |  |  |  |  | $154.50 |
| Grand Total |  |  |  |  |  |  |  | $ 5,304.50 |

Proposal to:

glycol leak in upper mezzanine feeding air handlers. Repair copper lines rotted through wall supplying chiller water to mezzanine air handlers. Remove all glycol from system and drain down below damaged lines. Cut 2 ½ inch L type copper tubes. Need platform lift to safely replace these lines. Lines are in assembly hall approx. 25 feet in air.