Repair 13 inoperative 2X4 fluorescent Fixtures.

1.Repair 13 inoperative 2X4 fluorescent Fixtures
2. Repair 10 inoperative fluorescent high-hat fixtures

Proposal to:

- Replace 13 high hat light fixtures.

- Replace 10 2x4 ft. light fixtures.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair 13 inoperative |  |  |  |  |  |  |  |  |
| CSS #89657 - CMI #19219 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.08.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,595.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,635.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnostic |  |  |  |  |  |  |  | $ 150.00 |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 143.55 |
| Grand Total |  |  |  |  |  |  |  | $ 4,928.55 |