Building 356
- need 30 lights in Room 215
- plus another 30 lights in various areas - 2nd Floor Conference room, 2nd
Floor hallway and 1st Floor TOC room and hallway.

Proposal to:

- Replace 30 2x4 ft. light fixtures.

- Replace 30 light bulbs on existing light fixtures.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Building 356 - need 30 lights in Room 215 |  |  |  |  |  |  |  |  |
| CSS #93929 - CMI #22729 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.10.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 32 |  |  |  |  |  | $ 2,720.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 5,730.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 8,450.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ 150.00 |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 172.00 |

| Grand Total |  |  |  |  |  |  |  | $ 8,772.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |