Single exterior door next to the arms room is difficult to close. Door does not automatically close and secure (as it should by design) causing a physical security issue for the facility. Also, three exterior double doors need new sweeps and new door weather-stripping at the training building. The repairs will improve heating efficiency and keep rodents from entering the building.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| single exterior door next to the arms |  |  |  |  |  |  |  |  |
| CSS #22594 - CMI # 6475 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.01.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 158.00 | 16 |  |  |  |  |  | $ 2,528.00 |
| 2 men 8 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 984.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,512.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| CE Factor 1.03% |  |  |  |  |  |  |  | $ 114.93 |
| Grand Total |  |  |  |  |  |  |  | $ 3,617.36 |

Proposal to provide necessary labor and materials to make the following repairs.

Outside Arms Room double doors

- Repair and/or remove damage portion of frame; secure door

Three (3) exterior double doors

- Install door sweeps and weather stripping